## Sheet1
1.368 Sq.In. Silicon solar cell
| CT | Scale | Meter | scale | filter | conditions
time | ma | Scale | Lux | scale | filter | conditions
| 131.2 |  | 113300 |  |  | sun
| 5.02 |  | 4820 |  |  | Florescent Desk lamp
| 1.076 |  | 1137 |  |  | Florescent Desk lamp
| 0.647 |  | 618 |  |  | Florescent Desk lamp
| 0.0016 |  | 2 |  |  | sun
| CT | Scale | Meter | scale | filter | conditions
time | ma | Scale | Lux | scale | filter | conditions
11:53 | 8.6 | 20ma | 4250 | 10X | thick | Cloudy | don't use bit distored
11:47 | 9.9 | 200ma | 4900 | 100X | thick | Cloudy | don't use bit distored
11:47 | 10.24 | 20ma | 5250 | 10X | thick | Cloudy | don't use bit distored
0:48 | 39.2 | 200ma | 18700 | 100X | thick | Sun | don't use bit distored
0:53 | 44.1 | 200ma | 23000 | 100X | Thick | Sun | don't use bit distored
11:57 | 15.69 | 20ma | 9410 | 10X | Thin | Cloudy |  | no good
11:56 | 15.8 | 200ma | 9500 | 100X | Thin | Cloudy |  | no good
11:54 | 16.3 | 200ma | 9800 | 100X | Thin | Cloudy |  | no good
0:47 | 56.2 | 200ma | 33800 | 100X | Thin | Sun |  | no good
0:52 | 60.2 | 200ma | 37300 | 100X | Thin | Sun |  | no good
18:14 | 26.1 | 200ma | 13700 | 100X |  | Sun |  | no good
| 0.163 | 200u | 75 | 1X |  | Sun |  | no good
| 0.0766 | 200u | 30 | 1X |  | sun |  | no good
| 0.0257 | 200u | 55 | 1X |  | forsent celing Light office with outside fixture
| 0.0525 | 200u | 111 | 1X |  | forsent celing Light office with outside fixture
| 0.0916 | 200u | 200 | 1X |  | forsent celing Light office with outside fixture
| 0.147 | 2000u | 200 | 1X |  | forsent celing Light office with outside fixture
| 0.22 | 2000u | 300 | 1X |  | forsent celing Light office with outside fixture
| 0.292 | 2000u | 400 | 1X |  | forsent celing Light office with outside fixture
| 0.363 | 2000u | 500 | 1X |  | forsent celing Light office with outside fixture
| 0.51 | 2000u | 700 | 1X |  | forsent celing Light office with outside fixture
| 9.61 | 20m | 16260 | 10x |  | Florescent 2x F40RES GE
| 6 | 20m | 8240 | 10x |  | florescent kitchen Light 2x40W F40RES GE Bair tubes
| 3.33 | 20m | 4500 | 10x |  | florescent kitchen Light 2x40W F40RES GE Bair tubes
| 1.46 | 20m | 2000 | 10x |  | florescent kitchen Light 2x40W F40RES GE Bair tubes
| 0.702 | 2000U | 1000 | 10x |  | florescent kitchen Light 2x40W F40RES GE Bair tubes
| 0.501 | 2000U | 600 | 1X |  | florescent kitchen Light 2x40W F40RES GE Bair tubes
| 0.292 | 2000U | 400 | 1X |  | florescent kitchen Light 2x40W F40RES GE Bair tubes
| 0.147 | 2000U | 200 | 1X |  | florescent kitchen Light 2x40W F40RES GE Bair tubes
| 0.0547 | 2000U | 115 | 1X |  | florescent kitchen Light 2x40W F40RES GE Bair tubes
| 0.0438 | 2000U | 90 | 1X |  | florescent kitchen Light 2x40W F40RES GE Bair tubes
| 0.0213 | 2000U | 44 | 1X |  | florescent kitchen Light 2x40W F40RES GE Bair tubes
| 0.0105 | 2000U | 22 | 1X |  | florescent kitchen Light 2x40W F40RES GE Bair tubes
| 0.64 | 2000u | 720 | 1X |  | Florescent Desk lamp
| 0.66 | 20ma | 740 | 10X |  | Indoor desk lamp
| 1.136 | 2000u | 1282 | 1X |  | Indoor desk lamp
| 1.434 | 2000u | 1620 | 1X |  | Indoor desk lamp
| 1.6 | 20ma | 1720 | 10X |  | Indoor desk lamp
| 2.76 | 20ma | 2960 | 10X |  | Indoor desk lamp
| 4.95 | 20ma | 5320 | 10X |  | Indoor desk lamp
| 7.74 | 20ma | 8510 | 10X |  | Indoor desk lamp
| 10.8 | 200ma | 11880 | 10X |  | Indoor desk lamp
| 10.8 | 20ma | 11880 | 10X |  | Indoor desk lamp
7:44 | 0.0006 | 200u |  | 1X |  | Twilight | Can't read meters - total dark except for glow on horzon
19:43 | 0.0008 | 200u |  | 1X |  | Twilight
19:42 | 0.0009 | 200u |  | 1X |  | Twilight
19:41 | 0.0012 | 200u |  | 1X |  | Twilight
19:40 | 0.0016 | 200u | 2 | 1X |  | Twilight | Cant read watch
19:38 | 0.0028 | 200u | 3 | 1X |  | Twilight | Extreamly hard to read watch
19:37 | 0.0039 | 200u | 4 | 1X |  | Twilight
19:36 | 0.0051 | 200u | 5 | 1X |  | Twilight
19:34 | 0.0078 | 200u | 7 | 1X |  | Twilight | Getting hard to read watch
19:33 | 0.0096 | 200u | 8 | 1X |  | Twilight
19:33 | 0.016 | 2000u | 10 | 1X |  | Twilight
19:32 | 0.02 | 2000u | 12 | 1X |  | Twilight
19:30 | 0.025 | 2000u | 14 | 1X |  | Twilight
19:30 | 0.03 | 2000u | 17 | 1X |  | Twilight
43:40 | 0.034 | 2000u | 19 | 1X |  | Twilight
| 0.036 | 2000u | 20 | 1X |  | Twilight
19:29 | 0.04 | 2000u | 22 | 1X |  | Twilight
19:28 | 0.049 | 2000u | 26 | 1X |  | Twilight
19:28 | 0.054 | 2000u | 29 | 1X |  | Twilight
19:27 | 0.063 | 2000u | 34 | 1X |  | Twilight | Stop buz - 18 min to total dark.
19:27 | 0.068 | 2000u | 38 | 1X |  | Twilight | Stop buz - changing at about 10 lux/min
19:24 | 0.105 | 2000u | 57 | 1X |  | Twilight | Start buz of silionode
19:17 | 0.273 | 2000u | 185 | 1X |  | Twilight
19:17 | 0.286 | 2000u | 191 | 1X |  | Twilight
19:15 | 0.303 | 2000u | 200 | 1X |  | Twilight
19:15 | 0.334 | 2000u | 222 | 1X |  | Twilight
19:01 | 1.41 | 20ma | 847 | 1X |  | Twilight
19:01 | 1.51 | 20ma | 902 | 1X |  | Twilight
18:45 | 4.71 | 200ma | 2670 | 10X |  | Twilight
18:45 | 4.78 | 200ma | 2710 | 10X |  | Twilight
18:30 | 7.57 | 200ma | 4110 | 10X |  | Twilight
18:30 | 8.26 | 200ma | 4460 | 10X |  | Twilight
18:30 | 8.4 | 200ma | 4700 | 100X |  | Twilight
18:14 | 10.2 | 200ma | 6000 | 100X |  | Cloudy
17:20 | 16.8 | 200ma | 13200 | 100X |  | Sky up no direct sun
17:20 | 18.2 | 200ma | 13600 | 100X |  | Sky up no direct sun
18:14 | 19.3 | 200ma | 11600 | 100X |  | Cloudy
18:14 | 19.5 | 200ma | 10700 | 100X |  | Cloudy
17:20 | 25.7 | 200ma | 16600 | 100X |  | Cloudy
10:29 | 30.3 | 200ma | 19900 | 100X |  | Cloudy
10:44 | 30.6 | 200ma | 20200 | 100X |  | Cloudy
10:28 | 31.4 | 200ma | 20800 | 100X |  | Cloudy
17:20 | 31.6 | 200ma | 19700 | 100X |  | Cloudy
10:28 | 31.7 | 200ma | 21000 | 100X |  | Cloudy
17:20 | 33.6 | 200ma | 22800 | 100X |  | Cloudy
11:55 | 54.7 | 200ma | 35700 | 100X |  | Cloudy
11:47 | 55.8 | 200ma | 36600 | 100X |  | Cloudy
18:20 | 13.4 | 200ma | 6300 | 100X |  | Sun
18:14 | 18.3 | 200ma | 10500 | 100X |  | Sun
18:20 | 22.7 | 200ma | 8200 | 100X |  | Sun down now
18:14 | 42 | 200ma | 16400 | 100X |  | Sun
17:56 | 43.1 | 200ma | 22000 | 100X |  | Sun
17:56 | 46.3 | 200ma | 24900 | 100X |  | Sun
18:14 | 48.8 | 200ma | 19200 | 100X |  | Sun
17:56 | 61.3 | 200ma | 29000 | 100X |  | Sun
17:56 | 65.2 | 200ma | 29100 | 100X |  | Sun
17:56 | 66.3 | 200ma | 29600 | 100X |  | Sun
17:51 | 67.5 | 200ma | 32900 | 100X |  | Sun
17:56 | 70.5 | 200ma | 33500 | 100X |  | Sun
17:45 | 75.5 | 200ma | 38500 | 100X |  | Sun
17:50 | 75.6 | 200ma | 37600 | 100X |  | Sun
17:48 | 76.1 | 200ma | 32400 | 100X |  | Sun
17:51 | 77.6 | 200ma | 38300 | 100X |  | Sun
17:51 | 78.6 | 200ma | 39200 | 100X |  | Sun
17:51 | 81.7 | 200ma | 42200 | 100X |  | Sun
17:51 | 81.9 | 200ma | 42600 | 100X |  | Sun
17:36 | 86.2 | 200ma | 52000 | 100X |  | Sun
17:22 | 90.4 | 200ma | 59900 | 100X |  | Sun
17:19 | 90.5 | 200ma | 63600 | 100X |  | Sun
17:22 | 91.2 | 200ma | 61200 | 100X |  | Sun
16:58 | 94.2 | 200ma | 81400 | 100X |  | Sun
16:45 | 95.2 | 200ma | 88600 | 100X |  | Sun
16:27 | 96.8 | 200ma | 102000 | 100X |  | Sun
16:25 | 97.5 | 200ma | 103400 | 100X |  | Sun
0:46 | 98.1 | 200ma | 119400 | 100X |  | Sun
0:49 | 98.7 | 200ma | 120100 | 100X |  | Sun
16:11 | 99.7 | 200ma | 102900 | 100X |  | Sun
14:54 | 101.1 | 200ma | 119700 | 100X |  | Sun
0:50 | 102.7 | 200ma | 130400 | 100X |  | Sun
0:51 | 103.2 | 200ma | 135200 | 100X |  | Sun